## Slide 1: EEE 103 (Part 1)
Electrical Circuits II
Dept. of EEE, BUBT

## Slide 2
1889 engraving by William Allen Rogers for Harper’s Weekly magazine. GRAND STREET, NEW YORK, AT NIGHT

## Slide 3
October 11, 1889. The death of John Feeks. Manhattan, New York.
World's Columbian Exposition, 1893, Chicago

## Slide 4: Sinusoids

## Slide 5: Example

## Slide 6: continued…
Red: v1
Blue: v2

## Slide 7: Phasors

## Slide 8: Some Basic Operations of Complex Number

## Slide 9: Euler’s Identity and Phasor Representation

## Slide 10: continued…
is time-domain representation, while is frequency or phasor-domain representation.
is time dependent, while is not.
is always real, while is generally complex.

## Slide 11: Example

## Slide 12: continued…

## Slide 13: continued…

## Slide 14: Phasor with Elements
(1) Resistor:
Current and Voltage are in phase.

## Slide 15: continued…
(2) Inductor:
Current lags Voltage by 90°

## Slide 16: continued…
(3) Capacitor:
Current leads Voltage by 90°

## Slide 17: Example

## Slide 18: continued…

## Slide 19: Impedance
Impedance (frequency-dependent)
Unit: Ohm

## Slide 20: continued…
Impedance is inductive (lagging) when is positive.
Impedance is capacitive (leading) when is negative.
KCL, KVL, Voltage-division, Current-division – all hold in Phasor domain too.

## Slide 21: Admittance
Unit: Siemens (S) or Mho (℧)

## Slide 22: Series and Parallel Impedances

## Slide 23: Y-Δ Transformations

## Slide 24: Example

## Slide 25: continued…

## Slide 26: continued…

## Slide 27: continued…

## Slide 28: continued…

## Slide 29: continued…

## Slide 30: continued…

## Slide 31: continued…

## Slide 32: continued…

## Slide 33: continued…

## Slide 34: continued…

## Slide 35: Nodal Analysis Example

## Slide 36: continued…
Nodal Equations (to be solved)

## Slide 37: continued…

## Slide 38: continued…
After substituting,

## Slide 39: Mesh Analysis Example

## Slide 40: continued…
After substituting,

## Slide 41: continued…

## Slide 42: continued…
After solving those 4 equations,

## Slide 43: continued…
N
At node N,
After solving, A
But,
A

## Slide 44: Superposition Example

## Slide 45: continued…
After solving,

## Slide 46: continued…

## Slide 47: continued…

## Slide 48: continued…
Source Transformation

## Slide 49: Source Transformation Example

## Slide 50: continued…

## Slide 51: Thevenin and Norton Equivalent Circuits

## Slide 52: Example

## Slide 53: continued…

## Slide 54: continued…
Finding ZTh:
Due to the presence of the dependent source, we connect a 3-A current source (or voltage source if you want).
3 is an arbitrary value chosen for convenience here.

## Slide 55: continued…

## Slide 56: continued…
Finding ZTh:
Due to the presence of the dependent source, we connect a 1-V voltage source (or current source if you want).

## Slide 57: continued…

## Slide 58: continued…
Substituting this V1 into node equation 1:

## Slide 59: continued…
Obtain the Norton equivalent at terminals a-b

## Slide 60: continued…
After solving,
A

## Slide 61: continued…

## Slide 62: continued…
N
At node N,
After solving,

## Slide 63: continued…

## Slide 64: continued…
Finding ZTh:
Due to the presence of the dependent source, we connect a 1-A current source (or voltage source if you want).

## Slide 65: continued…
Finding VTh

## Slide 66: continued…

## Slide 67: Instantaneous Power
The instantaneous power (in watts) is the power at any instant of time.

## Slide 68: continued…
The first part is constant (time independent). Its value depends on the phase difference between voltage & current.
The second part is a sinusoidal function whose frequency is 2ω.

## Slide 69: Average Power
The average power (in watts) is the average of the instantaneous power over one period.
We know,
Thus,

## Slide 70: continued…
For purely resistive circuit, current & voltage are in phase.
For purely reactive circuit, current & voltage are out of phase (±90°).
A resistive load (R) absorbs power at all times, while a reactive load (L or C) absorbs zero average power.
waveform on next page

## Slide 71: continued…
Pure Inductor
Pure Capacitor

## Slide 72: Example
You can use this too:

## Slide 73: continued…

## Slide 74: continued…

## Slide 75: continued…

## Slide 76: continued…
The circuit is delivering average power to the voltage source.
The current source is delivering average power to the circuit.
This average power is absorbed by the resistor.

## Slide 77: continued…
voltage across it is
voltage across it is
V

## Slide 78: Maximum Average Power Transfer
For maximum average power transfer, the load impedance ZL must be equal to the complex conjugate of the Thevenin impedance ZTh.

## Slide 79: continued…
In a special situation in which the load is purely real: The load must be chosen such that
Then,
where is the current phasor flowing through load .

## Slide 80: Example

## Slide 81: continued…

## Slide 82: continued…

## Slide 83: continued…

## Slide 84: Effective or RMS Value
The effective value of a periodic current is the dc current that delivers the same average power to a resistor as the periodic current.

## Slide 85: continued…

## Slide 86: Apparent Power and Power Factor
The apparent power, S (in VA) is the product of the rms values of voltage and current.
Power Factor, pf (dimensionless) is the ratio of the average power to the apparent power.

## Slide 87: continued…
Power Factor (pf) is the cosine of phase difference between voltage and current. It is also the cosine of the angle of the load impedance.
Value of pf ranges between zero and unity.
For a purely resistive load, the voltage and current are in phase, that means ; thus, pf = 1.
  apparent power (S) = average power (P)
For a purely reactive load, . Thus, pf = 0.
  average power (P) is zero.
Leading pf means: current leads voltage → capacitive load (negative pf angle)
Lagging pf means: current lags voltage → inductive load (positive pf angle)

## Slide 88: EEE 103
(Part 2)
Electrical Circuits II

## Slide 89: Apparent Power and Power Factor
The apparent power, S (in VA) is the product of the rms values of voltage and current.
Power Factor, pf (dimensionless) is the ratio of the average power to the apparent power.

## Slide 90: continued…
Power Factor (pf) is the cosine of phase difference between voltage and current. It is also the cosine of the angle of the load impedance.
Value of pf ranges between zero and unity.
For a purely resistive load, the voltage and current are in phase, that means ; thus, pf = 1.
  apparent power (S) = average power (P)
For a purely reactive load, . Thus, pf = 0.
  average power (P) is zero.
Leading pf means: current leads voltage → capacitive load (negative pf angle)
Lagging pf means: current lags voltage → inductive load (positive pf angle)

## Slide 91: Example
Load impedance Z can be modeled by a 25.98 Ω resistor in series with a capacitor.

## Slide 92: continued…

## Slide 93: Complex Power
Complex power S absorbed by the ac load is the product of the voltage and the complex conjugate of the current.

## Slide 94: continued…
Total complex power in a network is the sum of complex powers of individual components.

## Slide 95: Power Triangle

## Slide 96: Example

## Slide 97: continued…
Since pf is lagging, reactive power (Q) is positive.
kVAR

## Slide 98: continued…

## Slide 99: continued…

## Slide 100: continued…

## Slide 101: continued…

## Slide 102: continued…

## Slide 103: Power Factor Correction
The process of increasing the power factor without altering the voltage or current to the original load is known as power factor correction.
With the same supplied voltage, the original circuit (on left) draws larger current than the improved circuit (on right).
Power companies charge more for larger currents, because they result in increased power losses.
Therefore, it is beneficial to both the power company and the consumer to keep the power factor as close to unity as possible.

## Slide 104: continued…
If the original inductive load has apparent power S1 , then
If we desire to increase the power factor from to without altering the real power, then the new reactive power is
The reduction in reactive power is caused by the shunt capacitor:

## Slide 105: continued…
Rare case: Load may be capacitive (pf is leading).
An inductor (L) should be connected across the load for pf correction.
(the difference between the new and old reactive powers)

## Slide 106: Example

## Slide 107: continued…
Now,

## Slide 108: Three-Phase Circuits
Circuits or systems in which the ac sources operate at same frequency but different phases are known as polyphase.
(covered in previous chapter)

## Slide 110: continued…
Why are 3-phase systems important?
Nearly all electric power is generated and distributed in 3-phase, at the operating frequency of 60 Hz or 50 Hz.
  When 1-phase or 2-phase inputs are required, they are taken from the 3-phase system rather than generated independently.
The instantaneous power in a 3-phase system can be constant.
  This results in uniform power transmission and less vibration.
The amount of wire required for a 3-phase system is less than that required for an equivalent 1-phase system to deliver same power.
  The 3-phase system is more economical than 1-phase (33% more material).

## Slide 111: continued…

## Slide 112: Balanced 3-Ø Voltage Source
3-Ø current source is very scarce.

## Slide 113: continued…

## Slide 114: continued (Star Connection)…
Positive (abc) Sequence
Negative (acb) Sequence

## Slide 115: continued (Star Connection)…
Positive (abc) Sequence
Negative (acb) Sequence

## Slide 116: Balanced 3-Ø Load
Y-connected Load
Δ-connected Load

## Slide 117: Example

## Slide 118: Balanced Y-Y Connection
Assuming the positive sequence, the phase voltages (or line-to-neutral voltages):
The line-to-line voltages or simply line voltages:

## Slide 119: continued…
The Line Currents

## Slide 120: continued…
Thus, voltage across the neutral wire is zero. The neutral line can thus be removed without affecting the system.
In Y-Y system, the line current is the same as the phase current.

## Slide 121: Example
Since the source voltages are in positive sequence, the line currents are also in positive sequence.

## Slide 122: continued…

## Slide 123: continued…

## Slide 124: Balanced Y-Δ Connection
Assuming the positive sequence, the phase voltages are:
The line voltages are:
The phase currents are:

## Slide 125: continued…
The line currents are:

## Slide 126: continued…
Alternatively, we can transform Y-Δ system to a Y-Y system.
Then solve the line current using 1-Ø equivalent circuit.
Then the phase currents are solved using:

## Slide 127: Example

## Slide 128: continued…
The phase currents are:

## Slide 129: Balanced Δ-Δ Connection
Assuming a positive sequence, the phase voltages are:
Line voltages = Phase voltages
The phase currents are:
The line currents are:

## Slide 130: Example

## Slide 131: continued…

## Slide 132: Balanced Δ-Y Connection
Replace the Δ-connected source with its equivalent Y-connected source.
Now we find a Y-Y connection.
Then solve using equivalent 1-Ø circuit.
Equivalent Y-connected source has the phase voltages:
The line voltages as well as the phase voltages:

## Slide 133: continued…
The line currents are:
Phase currents = Line currents

## Slide 134: Example

## Slide 135: Summary
Positive or abc sequence is assumed.
Δ-connected load is more desirable than the Y-connected load:
It is easier to alter the loads in any one phase of the Δ-connected loads, as the individual loads are connected directly across the lines.
The Δ-connected source is hardly used in practice:
Any slight imbalance in the phase voltages will result in unwanted circulating currents.

## Slide 136: Power in a Balanced System
Total instantaneous power,
Total average power,
Total reactive power,
Total complex power,
Average power per phase,
Reactive power per phase,
Apparent power per phase,
Complex power per phase,
Remember that , , , are rms values.

## Slide 137: Example

## Slide 138: Mutual Inductance
Self-inductance (L)

## Slide 139: continued…
M21 : mutual inductance of coil 2 with respect to coil 1.
M12 : mutual inductance of coil 1 with respect to coil 2.
Mutual inductance is the ability of one inductor to induce a voltage across a neighboring inductor, measured in henrys (H).

## Slide 140: Dot Convention: Magnetically Coupled Circuit
If a current enters the dotted terminal of one coil, the reference polarity of the mutual voltage in the second coil is positive at the dotted terminal of the second coil.
If a current leaves the dotted terminal of one coil, the reference polarity of the mutual voltage in the second coil is negative at the dotted terminal of the second coil.

## Slide 141: continued…
I1 enters L1 at the dotted end, it induces a voltage in L2 that tries to force a current out of the dotted end of L2.
I2 leaves L2 at the dotted end, it induces a voltage in L1 that tries to force a current into the dotted end of L1.

## Slide 142: Example

## Slide 143: continued…
After solving,

## Slide 144: continued…
For mesh 1,
For mesh 2,
After solving,

## Slide 145: continued…
For mesh 1,
For mesh 2,

## Slide 146: continued…
For mesh 1,
For mesh 2,